- Quick Start

  - Equipment Configuration

Fig 1 Front panel of KV-8000

Device connection

[Equipment list]

・PC

・CPU unit: KV-8000

・Communication unit: KV-XL202

・Power unit: CA-U4

・Source meter: 2400s

・RS-232c cable (Need to cutting)

・USB cable

・Ethernet cable

・3-terminals power cable

Set the mode switch on the KV-8000 to PROG (Fig 1).

Connect the above devices as shown in Fig 2.

After cutting the RS-232c cable, attach the cut section to the KV-XL202 Port1. The RS-232c cable currently in use can be connected with the color pattern shown in the lower right of Fig 2. It is recommended that a continuity check be performed when changing cables.

Fig 2 Device connection

Fig 3 Photo of actual configuration

    - 2400s settings

[Communication settings]

- Press the Menu button.

- Select Communication and press Enter

- Select RS-232 and press Enter

- Select BAND and press Enter. Select 9600 and press Enter.

- Select BITS and press Enter. Select 8 and press Enter.

- Select PARITY and press Enter. Select EVEN and press Enter.

- Select THERMINATOR and press Enter. Select <CR+LF> and press Enter.

- Select FLOW-CTRL and press Enter. Select XON-XOFF and press Enter.

- Press the Exit button twice to return.

Fig 4 Front panel of 2400s

  - Create KV-studio project

- Launch KV-studio.

- File -> New project.

- Enter Project name, PLC model, Project location and OK.

- Set later

- No

- Clear PLC: Clear All -> Execute

- Open Unit editor

- Unit editor: File -> Read Unit config. From PLC. -> Yes

- Unit editor: Select KV-8000, Change FTP server: Used. And apply.

- Unit editor: Select KV-XL202, Change to the following settings. And apply.

⇒ Port1, Operation mode: Non-procedure

⇒ Port1, Device allocation type: DM (default)

⇒ Port1, Interface: RS-232C (default)

⇒ Port1, Baudrate: 9600bps (Match with 2400s settings)

⇒ Port1, Data bit length: 8bits (Match with 2400s settings)

⇒ Port1, Start bit: 1bits (default)

⇒ Port1, Stop bit: 1bits (default)

⇒ Port1, Parity: Even (Match with 2400s settings)

⇒ Port1, Checksum: none (default)

⇒ Port1, RS/CS flow control: ON (Match with 2400s settings)

- Unit editor: OK

- View -> Device comment edit window

- Device comment edit window: Detail -> Register unit device

- Register unit device: Select KV-8000 and KV-XL202. Reg

- Device comment edit window: Verify that the unit device is registered.

- Writing: recorder setting: continue sending(No: this setting is optional.)

- A

  - Load settings from PLC

  - Writing settings and programs

  - Displaying device values

  - RS-232c communication of KV-XL202

- Aaa

- Aaa

- Aaa